RBciAD: A Real-Time Polyglot No-/Low-Code Framework for Rapid EEG BCI Prototyping

Abstract
Background. Building EEG-based brain–computer interface (BCI) pipelines remains time-consuming and brittle, often requiring expertise in signal processing and software engineering.
Methods. We present RBciAD, a real-time, polyglot no-/low-code framework that executes BCI graphs reactively: any node or parameter edit triggers deterministic propagation. Python nodes run in-process; C/C++/Rust/Node.js/others execute out-of-process via a lightweight JSON I/O contract with per-instance files. EEG I/O and preprocessing rely on MNE-Python; the live display renders clinical-style traces (rolling window, stacked channels, per-channel scaling). A built-in low-code editor generates node skeletons and registers them instantly into a two-category palette (Base vs Custom) without restarting. We instrument UI and render callbacks with a monotonic, nanosecond clock and report time-to-first-pipeline (TTFP), edit-to-redraw latency (P50/P95), throughput (kSamples/s across channels), FPS, dropped frames, and CPU/RSS. Figures are exported as SVG/PDF directly from scripts.
Results. Across three workflows (Reader→Display; +Filter; stress/overlap), TTFP = 0.053–0.082 s; interaction P95 = 49–65 ms; dropped = 0%; FPS ≈ 7–8 for windowed traces. Throughput scales with overlap while CPU/RSS stay stable. Novices (n=5) assembled and extended pipelines without prior training. Heavy steps offload to compiled executables without changing the graph.
Conclusions. RBciAD turns BCI prototyping into an interactive, reproducible workflow across languages, with sub-100 ms tails and transparent artifacts. LSL streaming is implemented and validated with a synthetic generator; physical-headset validation is planned.
Keywords. Brain–Computer Interface; EEG; Visual Programming; Reactive Execution; Polyglot Nodes; Reproducibility.

Highlights

- Real-time reactive execution of BCI graphs (no “Run” button).

- Polyglot nodes: Python in-process; C/C++/Rust/Node.js/etc. via JSON I/O (per-instance files).

- Built-in low-code editor that generates skeletons and auto-registers nodes in the Custom palette.

- Authentic EEG live display (rolling, stacked, per-channel scaling) with SVG/PDF figure export.

- Sub-100 ms interaction tail latency; TTFP ≈ 0.05–0.08 s on EDF replays.

- Open artifacts: workflows, scripts, metrics, and vector figures.

1. Introduction

Brain–computer interfaces (BCIs) map neural activity to digital actions. Non-invasive EEG remains the workhorse for research and prototyping, with applications from neurorehabilitation to assistive communication and VR. Despite mature libraries—EEGLAB [1], OpenViBE [2], and BCILAB [3]—building full pipelines is still slow: users juggle scripting, configuration, dependencies, and ad-hoc visualization.

What’s missing is an environment that is both accessible and technically robust: one where users compose pipelines visually, get immediate feedback, and still plug in high-performance code when needed. Researchers also need first-class EEG I/O, standard preprocessing, faithful live visualization, and a clear path to reproduce and share results.

We introduce RBciAD, a visual, reactive framework that unifies no-code editing for beginners with a low-code path for developers. Pipelines—acquisition, filtering, feature extraction, visualization—are assembled by drag-and-drop; every edit propagates immediately. For advanced use, polyglot nodes allow Python, C++, JavaScript, Rust, and others to coexist in the same graph. The design encourages rapid iteration, cross-language interoperability, and reusable domain-specific components [4–7].

Contributions. (i) Dual-mode authoring (no-code + low-code). (ii) Reactive runtime with deterministic propagation (no manual run). (iii) Polyglot execution (Python in-process; C/C++/Rust/Node.js out-of-process via JSON I/O). (iv) Built-in low-code editor generating ready-to-use skeletons with instant palette registration. (v) Validated EEG workflows (EDF reading, filtering, live traces). (vi) Open, reproducible artifacts.

2. Related Work

MATLAB-centric ecosystems (EEGLAB [1], BCILAB [3], FieldTrip [5], ERPLAB [6]) offer rich EEG functionality but remain scripting-heavy. BCI2000 [4] and NeuroPype [36] address real-time composition, generally assuming C++/Python skills. In Python, MNE-Python [7] is the de-facto standard; Pyff [8], Wyrm [9], BioSPPy [31], BciPy [10], and MetaBCI [11] add building blocks, yet many lack an integrated, modular GUI for live workflows. Visual programming appears in OpenBCI GUI [45] and BrainBay [46]; Nengo [21] targets spiking networks rather than classical EEG pipelines. Reviews emphasize modular, inclusive tooling [15]; low-cost acquisition [16] and application studies [27, 30] exist but rarely combine no-/low-code, real-time, and extensibility in one system.

Positioning. RBciAD combines a no-/low-code editor, a reactive engine (RxPy), and a polyglot path in one environment. It integrates MNE-based EEG I/O, provides an authentic live display, and adds a low-code node generator with instant palette registration—a workflow that shortens iteration while preserving extensibility across languages.

Table 1 — Comparative overview of BCI development tools

| Framework | GUI | No-code | Low-code | Polyglot exec. | Low-code node creation | EEG-focused nodes | Real-time | Extensible |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EEGLAB [1] | No | No | No | No | No | Yes (EEG/ERP) | Partial | Partial (MATLAB) |
| BCILAB [3] | No | No | Yes (MATLAB) | No | No | Yes (EEG/ERP) | Partial | No |
| MNE-Python [7] | No | No | Yes (API) | No | No | Yes (analysis) | Partial | Yes |
| BciPy [10] | Basic | No | Yes (API) | No | No | Limited (ERP) | Partial | Yes |
| BioSPPy [31] | No | No | Yes (API) | No | No | General biosignals | Partial | Yes |
| OpenBCI GUI [45] | Basic | Yes | No | No | No | General EEG | Partial | Partial |
| BrainBay [46] | Yes | Yes | No | No | No | General EEG | Yes | No |
| BCI2000 [4] | Config | No | Partial | No | No | Yes (EEG/ERP) | Yes | Partial (C++) |
| OpenViBE [2] | Block-based | Yes | No | Polyglot (C++ only) | No | Yes (EEG/ERP) | Yes | Partial (C++) |
| FieldTrip [5] | No | No | Yes (MATLAB) | No | No | Yes (EEG/MEG) | Partial | Partial |
| ERPLAB [6] | No | No | Yes (MATLAB) | No | No | Yes (ERP) | No | Partial |
| Nengo [21] | Neural GUI | Yes | Yes (API) | No | No | No (SNN focus) | Yes | Yes |
| MetaBCI [11] | Basic | No | Yes (API) | No | No | EEG/feedback | Partial | Yes |
| RBciAD (this work) | Pro node editor | Yes | Yes | Yes (Py, C++, Rust, JS) | Yes (built-in) | Yes (EEG) | Yes (reactive) | Yes |

Legend: Yes = fully supported; Partial = limited or case-dependent; “Polyglot (C++ only)” indicates restriction to one compiled language.

3. Materials and Methods

3.1 System overview

RBciAD is a modular, event-driven framework with: (i) a node-based UI to compose pipelines; (ii) a reactive execution engine for instant propagation; (iii) plugin management for dynamic discovery of Python and polyglot nodes. The GUI uses PyQt; EEG I/O and processing rely on MNE-Python [7]; plotting uses embedded Matplotlib. The stack supports standard EEG formats (EDF/BDF) and remains lightweight.

3.2 Acquisition Manager

A central Acquisition Manager abstracts data sources and normalizes their outputs. API: prepare(source), start(), pause(), resume(), stop(), teardown(). Sources include a “Universal” EDF/BDF reader and an LSL reader (validated with a Python simulator in this study).

Unified chunk format. Regardless of origin, the manager emits uniform chunks with the fields below:

- data: a float32 array of shape (n_s, n_ch) = (samples, channels).

- sr_hz: sampling rate in Hz (e.g., 200.0).

- ch_names: list of length n_ch with channel labels (e.g., ["Fz","Cz","Pz",…]).

- ts_src: source-clock timing for the chunk, given as a pair (t0_src, t1_src) in seconds (first and last sample timestamps). Per-sample times are inferable as t0_src + k / sr_hz, for k = 0 … n_s-1.

Windowing & ticks. The manager maintains a per-channel ring buffer sized from the active window:

- Buffer length in samples: L=⌈win_s×sr_hz⌉,
where win_s is the window duration in seconds.

- WindowReady ticks are pushed to the reactive graph every hop

hop_s=win_s×(1-overlap),

with overlap a fraction in [0,1)(e.g., 0.50 = 50 %, 0.80 = 80 %).
Each tick carries a view of the latest Lsamples per channel plus the window’s (t_start_src, t_end_src).

LSL timing note. For LSL sources, ts_src reflects the stream’s source clock; the manager also monitors host–source offset (mean, p95) for quality tracking. In this study we do not adjust per-sample times by that offset.

This design decouples I/O from processing nodes, simplifies switching between files and streams, and centralizes backpressure, timestamp alignment, and error handling. The manager exposes diagnostics—samples_in, FPS/dropped, and LSL offset stats—on an event bus for non-intrusive logging/visualization.

Examples. With win_s = 5 s and sr_hz = 200 Hz, the buffer holds L=1000samples per channel.
If overlap = 0.80, then hop_s = 1.0 s (ticks every second).

3.3 Node-based editor (no-code)

Each node encapsulates a function (EEG reader, filter, visualizer, etc.) with typed input/output pins and in-node parameter widgets. Users connect nodes on a canvas to form a directed acyclic graph (DAG). QGraphicsView supports smooth pan/zoom; Bézier edges track node motion in real time. Any edit—adding a node, changing a parameter, creating a link—triggers immediate updates (no “Run” button).

3.4 Reactive execution engine

The runtime follows a flow-based model built on RxPy observables integrated with the Qt event loop. Inputs/outputs are exposed as BehaviorSubjects. When an input changes, the node’s execute() runs and publishes values downstream. This yields (i) immediate feedback, (ii) deterministic propagation along explicit edges without hidden state, and (iii) selective recomputation via last-value caching. The engine supports continuous streams (MNE Raw/Epochs) and batch processing; visual sinks use gentle throttling to keep rendering smooth under rapid edits.

3.5 Plugin system and polyglot design

Plugins declare inputs, outputs, execution logic, and optional UI. Python nodes run in-process (implementing setup() and execute()). External nodes use a lightweight JSON I/O protocol via subprocess: the wrapper writes temp_io/input_<name>_<id>.json, builds a command from the file extension (Node.js, Rscript, Bash, .exe, etc.), invokes the process, and reads temp_io/output_<name>_<id>.json. Per-instance filenames avoid collisions. This design provides language independence, crash/timeout isolation, and easy debugging; for large tensors, nodes can exchange paths to memory-mapped/binary files to bypass serialization.

3.6 Dynamic discovery and palette

The low-code editor generates ready-to-run skeletons. Python skeletons subclass the base node and predeclare I/O. Polyglot skeletons include boilerplate to read input.json, write output.json, and integrate with the wrapper. Each skeleton sets category="Custom" and metadata; the palette refreshes without restart. Developers focus only on business logic; the JSON contract stays consistent across languages.

3.7 Low-code editor (developer workflow)

The editor generates ready-to-run skeletons. Python skeletons subclass the base node and predeclare I/O. Polyglot skeletons include boilerplate to read input.json, write output.json, and integrate with the wrapper. Each skeleton sets category="Custom" and metadata; the palette refreshes without restart. Developers focus only on business logic.

3.8 EEG I/O and visualization

BCI-oriented base nodes include:
• EEGReader (MNE-based) to load EDF/BDF and expose a stream compatible with downstream processing.
• LSL-Reader (live acquisition) that subscribes to a Lab Streaming Layer (LSL) stream [33]; it buffers and aligns incoming chunks and forwards a steady stream; validated here with a Python LSL generator (synthetic EEG).
• EEGVisualizer / LiveDisplay renders authentic scrolling EEG traces in-node with a rolling window, stacked channels, and per-channel scaling (clear + full-screen available). Visual nodes decouple render cadence from upstream sampling to keep interaction smooth during parameter edits.

3.9 Persistence and reproducibility

Workflows are saved/loaded as versioned JSON (nodes, parameters, connections). Reproducibility is supported via environment pinning (package versions), repository metadata (e.g., CITATION.cff), and scripted figure export (SVG) directly from runs.

3.10 Performance and scalability

RBciAD favors incremental recomputation: only affected subgraphs execute on change. Sinks can throttle; CPU-heavy nodes batch or window streams. Polyglot nodes use separate processes so long-running tasks do not block the GUI. JSON keeps cross-process I/O inspectable; for large tensors, nodes can pass paths to memory-mapped/binary files to avoid serialization overhead.

3.11 Robustness and fault isolation

External processes are guarded by timeouts and exit-code checks; errors surface in the UI log. Pins carry lightweight type tags (Raw/Epochs, ndarray, float). Deleting a node disposes subscriptions, closes files, and invalidates downstream state. Updates remain deterministic because edges define order; there is no implicit shared state.

3.12 Extensibility and maintainability

Adding functionality means either subclassing the Python base (setup()/execute()) or providing an external script that follows the JSON protocol (with an auto-generated Python wrapper). APIs are documented; unit tests target nodes as pure functions with golden I/O, and integration tests validate full workflows.

3.13 Benchmarking protocol

3.13.1 Instrumentation and KPI definitions

We instrument the UI and renderer with a monotonic, nanosecond clock. Each UI edit emits a PARAM_CHANGE event with a configuration version ukand timestamp tkpc(for the k-th edit). Each rendered frame jcarries a timestamp tjfrand the applied version vjthat was actually drawn.

- Per-edit latency (edit → first affected frame)

Δtk  =  min⁡ j:  tjfr>tkpc,  vj≥uk(tjfr-tkpc).

This measures how long it takes for an edit to become visible on screen.

- Quantiles (P50/P95)
Given {Δtk}k=1K, we report empirical quantiles q∈{0.50,0.95}(order statistics).

- Time-to-first-pipeline (TTFP)
We log START_TTFP at user request and FIRST_FRAME at the first effective draw of the pipeline:

TTFP  =  tfirst-tstart.

- Frames per second (FPS) (interval average)
Over an interval [T0,T1]:

FPS  =  NframesT1-T0,Nframes=#{j: T0≤tjfr<T1}.

- Throughput (kSamples/s across channels)
For each processed chunk i, with nch(i)channels and nsamp(i)time samples, define the element count Ei=nch(i) nsamp(i). Then

Throughput [kS/s]  =  10-3T1-T0i: T0≤ti<T1Ei.

Note. With overlapped windows, nsamp(i)includes re-processing; this reflects actual work done by the pipeline.

- Dropped frames (%)

Dropped [%]  =  100×NdroppedNrendered+Ndropped.

Nrenderedand Ndroppedcome from renderer counters.

- Process CPU / RSS (avg / max)
We sample process-level CPU percentage cmand resident set size rmat 10 Hz, and report

CPU=1Mm=1Mcm,CPUmax=max⁡mcm;RSS=1Mm=1Mrm,RSSmax=max⁡mrm.

Acceptance references. We use standard HCI/UX landmarks (≈ 0.1 s “instantaneous”; ≈ 1 s “seamless”; ≈ 10 s attention span) [48], and web-style guidance via INP (≤ 200 ms at P75 “good”; ≥ 500 ms “poor”) and 60 FPS for animations [49]. We emphasize P95 latencies to capture tail behavior, while referencing INP for context.

3.13.2 Protocol details

We evaluate interactive responsiveness and runtime stability during 60-s EDF replays at wall-clock rate (SR = 200 Hz; channel count as provided by each dataset), preceded by a 10-s warm-up. A deterministic but shuffled script (~ 20–30 edits per run; ≥ 1–2 s apart) triggers:

- window changes (10 → 5 → 2 → 1 → 10 s),

- overlap toggles (50 % ↔ 80 %),

- filter switches (band-pass, notch on/off),

- display edits (channel visibility; amplitude ×2 / ÷2).

The renderer exposes FPS and Dropped (%); process-level CPU/RSS are sampled at 10 Hz. We run 10 repetitions per workflow (order randomized). All tables/figures are recomputed from CSV with the released scripts (Annex).

(Implementation note: all timestamps use the same monotonic clock to avoid wall-clock discontinuities.)

3.14 Packaging & CLI (nouvelle sous-section à insérer en fin de §3)

CLI launcher. RBciAD installs a console script named rbciad that launches the GUI (Windows/macOS/Linux).
Artifacts. The repository provides scripts for metrics aggregation and SVG/PDF figure export.
Versioning. Releases are tagged (e.g., vX.Y.Z) to bind figures/tables to specific code.

4. Results and Use Cases

4.1 EEG visualization from EDF files (no-code pipeline)

A complete pipeline—EEGReader → EEGFilter → EEGVisualizer—is built without scripting. The reader loads EDF/BDF; the filter exposes cutoff sliders; the visualizer renders clinical-style traces. Edits take effect immediately under reactive execution. Pipelines and parameters are versioned; figures are exported as PNG/SVG/PDF from scripts that read the run logs.

4.2 Hybrid polyglot workflow for high-performance steps

RBciAD supports mixed-language graphs. A typical example runs preprocessing in Python, artifact removal in a C++ node, and a browser-based display via JavaScript. Data moves through the JSON I/O contract; the GUI remains responsive because heavy steps execute out of process. We include timing for the external step and end-to-end edit-to-redraw latency.

4.3 Web neurofeedback and motor imagery

A closed-loop graph detects left/right motor imagery and sends decisions to a JS feedback node that drives a browser UI (e.g., moving a ball). The pipeline demonstrates how classification, feedback, and UI updates stay synchronized under reactive execution. We report decision rate and UI update latency.

4.4 EEG classification with Python machine learning

RBciAD supports research-grade classification pipelines using standard Python libraries. A FeatureExtractor computes band-power or CSP features; a ClassifierTrainer learns a model; a PredictionVisualizer displays real-time predictions. Advanced users can swap algorithms or add steps in the low-code editor without touching the rest of the graph. A subject-level SSVEP example with Reliable Components Analysis (RCA) [47] is planned.

Reproducibility note. Each graph is saved as JSON with node parameters and connections. We provide scripts to replay pipelines, export figures (SVG), and collect the metrics used in the plots. Environment files and commit tags are included with the artifacts.

5. Evaluation

5.1 Functional validation

We tested nodes both in isolation and within full pipelines. Across multiple graph topologies we observed: updates propagate immediately after a new connection or parameter change; nodes exchange and process data correctly in chained workflows; Polyglot nodes execute asynchronously and communicate reliably with the Python host via the JSON I/O contract; live acquisition via LSL works end-to-end with a Python generator (synthetic EEG). Graphs remained stable under rapid parameter edits and node deletion/creation thanks to deterministic reactive updates.

5.2 Preliminary user feedback
Five participants (neuroscience graduate students; none had used RBciAD before) completed a short, task-based formative walkthrough: load an EDF file, apply band-pass and notch filters, and visualize scrolling EEG traces. Sessions lasted ~15–20 min on a standard laptop. All five completed all tasks (5/5) without prior training. Reported strengths were a clear canvas, in-node parameter controls that reduce context switching, and embedded plotting for instant feedback. Requested improvements included clearer error messages on node failures, more examples for custom plugins, and better layout aids (align/snap/auto-arrange) for large graphs. This was an exploratory, non-controlled evaluation intended to surface obvious usability issues; no personal data or EEG from participants were collected, and notes were recorded anonymously. A larger study is planned.

5.3 Quantitative performance, protocol, and acceptance targets

Hardware & setup. Benchmarks were run on a Dell laptop (8th-generation Intel Core i5 @ 1.7 GHz), Windows 10. The system used the default OS power settings; no special tuning was applied.

Metrics & targets. We compute TTFP and edit-to-redraw latency (P50/P95) as defined in § 3.13.1. We also log FPS, throughput (kSamples/s across channels), dropped frames (%), and process-level CPU/RSS (avg/max). Acceptance targets follow HCI/UX landmarks (≈ 0.1/1/10 s) [48], INP (≤ 200 ms @ P75 good; ≥ 500 ms poor) [49], and 60 FPS guidance for animations (context only for windowed EEG; our primary KPI is responsiveness to edits, not cinematic frame rate).

Workflows.

- W1 — Reader → LiveDisplay (raw baseline). Redraws tied to data arrival; edits take effect on the next natural frame (no forced repaint).

- W2 — Reader → Filter → LiveDisplay (steady-state). Window 5 s, overlap 50 % ⇒ hop = 2.5 s (per § 3.2); typical band-pass + notch.

- W3 — Reader → Filter → LiveDisplay (stress / low-latency). Window 5 s, overlap 80 % ⇒ hop = 1.0 s; identical filter family; higher UI cadence.

Results. Across W1–W3, TTFP = 0.053–0.082 s; P95 = 49–65 ms (better than the 100 ms “instantaneous” landmark and the INP “good” threshold); FPS ≈ 7–8 for windowed traces; dropped = 0 %. Throughput increases with overlap (W3 ↑) while CPU/RSS remain stable. Overall, RBciAD preserves instantaneous interaction while scaling throughput on modest hardware.

Table 2 — Interactive metrics during EDF replay (W1–W3)

Latency = PARAM_CHANGE → first affected frame (per § 3.13.1). Throughput = kSamples/s across channels (includes overlap work). SR = 200 Hz; channel count as provided by the dataset.

| Workflow | TTFP (s) | Latency P50 (ms) | Latency P95 (ms) | FPS | Throughput (kS/s) | Dropped (%) | CPU avg (%) | CPU max (%) | RSS avg (MB) | RSS max (MB) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | 0.0534 | 34.58 | 50.77 | 8.14 | 232.30 | 0 | 14.21 | 54.55 | 266.45 | 268.00 |
| W2 | 0.0732 | 33.50 | 49.38 | 8.23 | 232.43 | 0 | 13.56 | 37.30 | 269.71 | 270.50 |
| W3 | 0.0822 | 54.59 | 64.62 | 7.14 | 392.06 | 0 | 15.76 | 42.60 | 267.06 | 270.00 |

Figure 9 — Interactive performance with UX thresholds.
(a) Latency (P50/P95) with reference lines at 100/200/500/1000 ms. (b) TTFP with 0.1/1/10 s landmarks. (c) FPS with 60/30 markers (context only). (d) Throughput (kSamples/s across channels). (e) CPU (avg/max). (f) RSS (avg/max). Across W1–W3, P95 < 100 ms and dropped = 0 %; W3 increases throughput without hurting interaction.

6. Limitations and Future Work

- Live data. LSL streaming is implemented and validated with a Python generator; validation with physical EEG headsets (e.g., OpenBCI, g.TEC, Muse) is planned.

- Throughput at very high rates. The reactive engine currently runs in a single Python process; behavior under very high-rate, multi-channel streaming will be profiled with stress scripts and, subsequently, with real devices. Binary/memmap paths are available when serialization overhead dominates.

- User study scale. The formative evaluation was small (n=5); a larger usability study with diverse profiles is planned.

- SSVEP with RCA. Reliable Components Analysis (RCA) for SSVEP will be added and benchmarked alongside frequency-domain baselines.

- Documentation & UX. User and developer guides are already available (covering installation, pipeline composition, and plugin creation). Future work will focus on clearer error messages for node failures, more advanced examples of custom plugins, and layout aids (snap/auto-arrange) for large graphs.

- Cloud-connected inference. While RBciAD’s plugin system can host HTTP clients, cloud inference was not implemented or evaluated in this study. A REST/gRPC node is planned, with benchmarks of round-trip times (median/tail), batching, on-device caching/fallback, and basic privacy safeguards (client-side anonymization, TLS).

- CLI and packaging. A command-line launcher (rbciad) is provided, but installer UX across operating systems has not been systematically tested. Future work includes packaging improvements and first-run usability studies.

7. Conclusions

RBciAD is a visual, reactive, and polyglot framework that turns EEG BCI prototyping into an interactive, reproducible workflow. Users compose pipelines in a node-based editor, adjust parameters in place, and see results immediately—while developers can drop in high-performance code written in other languages via a simple JSON contract. The system integrates MNE for EEG I/O, provides an authentic live display, and achieves sub-100 ms interaction tails during EDF replays. In practice, novices assembled working pipelines quickly; mixed-language graphs remained responsive because heavy steps run out of process. Together, these elements position RBciAD as a practical bridge between rapid prototyping and rigorous experimentation.

A permanent archive of RBciAD, including the source code and reproducibility artifacts, is available on Zenodo [50].

Practical implications. Beyond methodological contributions, RBciAD enables point-of-care adjustments—such as filtering, channel selection, and live quality checks—without scripting, while preserving a path to compiled, high-performance nodes. This combination shortens setup and iteration time and clarifies provenance during clinical or classroom sessions. As such, RBciAD can accelerate the transition from exploratory prototyping to reproducible EEG workflows, with validation on physical headsets planned as next step.

Data and code availability
All source code, example workflows, and scripts are openly available at https://github.com/fouadchouag/rad-bci-python. Environment files and a reproducibility guide are provided to replay experiments and export SVG/PDF figures. A permanent snapshot of version 1.10.0 is archived on Zenodo (DOI: 10.5281/zenodo.17095851).

Credit authorship contribution statement

• Fouad CHOAUG: Conceptualization, Software, Validation, Visualization, Writing & editing
• Abdallah KHABABA: Methodology, Investigation, review & editing.

Funding

This research did not receive any specific grant from funding agencies in the public, commercial, or not-for-profit sectors.

Declaration of competing interest

The authors declare no competing interests.

Ethics approval

Not applicable. The study used pre-existing, de-identified EEG recordings and synthetic data (LSL generator); no new data were collected from human subjects.

Acknowledgments

We thank [names, labs, or communities] for discussions, feedback, and testing.

Use of AI-assisted technologies

During manuscript preparation, the authors used AI-assisted tools to help with language editing and consistency. The authors reviewed and edited all content, take full responsibility for the text, and approve the final version.

References

[1] Delorme, A., & Makeig, S. EEGLAB…, J. Neurosci. Methods, 134(1), 9–21, 2004. doi:10.1016/j.jneumeth.2003.10.009.
[2] Renard, Y., et al. OpenViBE…, Presence, 19(1), 35–53, 2010. doi:10.1162/pres.19.1.35.
[3] Kothe, C. A., & Makeig, S. BCILAB…, J. Neural Eng., 10(5), 056014, 2013. doi:10.1088/1741-2560/10/5/056014.
[4] Schalk, G., et al. BCI2000…, IEEE T-BME, 51(6), 1034–1043, 2004. doi:10.1109/TBME.2004.827072.
[5] Oostenveld, R., et al. FieldTrip…, Comput. Intell. Neurosci., 2011:156869, 2011. doi:10.1155/2011/156869.
[6] Lopez-Calderon, J., & Luck, S. J. ERPLAB…, Front. Hum. Neurosci., 8:213, 2014. doi:10.3389/fnhum.2014.00213.
[7] Gramfort, A., et al. MEG and EEG data analysis with MNE-Python, Front. Neurosci., 7:267, 2013. doi:10.3389/fnins.2013.00267.
[8] Venthur, B., et al. Pyff…, Front. Neurosci., 4:179, 2010. doi:10.3389/fnins.2010.00179.
[9] Venthur, B., et al. Wyrm…, Neuroinformatics, 13(4), 471–486, 2015. doi:10.1007/s12021-015-9271-8.
[10] Memmott, T., et al. BciPy…, Brain-Computer Interfaces, 8(4), 137–154, 2021. doi:10.1080/2326263X.2021.1878727.
[11] Mei, J., et al. MetaBCI…, Comput. Biol. Med., 168:107806, 2024. doi:10.1016/j.compbiomed.2023.107806.
[12] Tadel, F., et al. Brainstorm…, Comput. Intell. Neurosci., 2011:879716, 2011. doi:10.1155/2011/879716.
[13] Amershi, S., et al. Software engineering for machine learning…, ICSE-SEIP, 2019, 291–300. doi:10.1109/ICSE-SEIP.2019.00042.
[14] Veiga, A., et al. Visual programming languages…, J. Syst. Softw., 170:110734, 2020. doi:10.1016/j.jss.2020.110734.
[15] Khan, M. J., & Hasan, S. W. Recent trends and advances in BCI systems: A review, IEEE Access, 9, 148811–148832, 2021. doi:10.1109/ACCESS.2021.3124746.
[16] Hossain, A. S., et al. A low-cost EEG system…, IEEE Access, 8, 218005–218017, 2020. doi:10.1109/ACCESS.2020.3042487.
[17] Schalk, G., & Mellinger, J. A Practical Guide to Brain–Computer Interfacing with BCI2000, Springer, 2010.
[18] Farwell, L. A., & Donchin, E. Toward a mental prosthesis…, Electroencephalogr. Clin. Neurophysiol., 70, 510–523, 1988. doi:10.1016/0013-4694(88)90149-6.
[19] Donchin, E., et al. The Mental Prosthesis…, IEEE Trans. Rehabil. Eng., 8(2), 174–179, 2000. doi:10.1109/86.847808.
[20] Chen, X., et al. Filter bank CCA for high-speed SSVEP BCI, J. Neural Eng., 12(4), 046008, 2015. doi:10.1088/1741-2560/12/4/046008.
[21] Bekolay, T., et al. Nengo…, Front. Neuroinform., 7:48, 2014. doi:10.3389/fninf.2013.00048.
[22] Pernet, C. R., et al. EEG-BIDS…, Sci. Data, 6:103, 2019. doi:10.1038/s41597-019-0104-8.
[23] Appelhoff, S., et al. MNE-BIDS…, JOSS, 4(40), 1896, 2019. doi:10.21105/joss.01896.
[24] da Cruz, M. A. A., et al. OLP—A RESTful Open Low-Code Platform, Future Internet, 13(10), 249, 2021. doi:10.3390/fi13100249.
[25] Di Ruscio, D., et al. Low-code development & MDE: a review, Softw. Syst. Model., 21, 2022. doi:10.1007/s10270-021-00970-2.
[26] Hirzel, M. Low-Code Programming Models, Commun. ACM, Oct 2023. doi:10.1145/3587691.
[27] Huang, C., et al. Visual tracking brain–computer interface, iScience, 27(2), 109376, 2024. doi:10.1016/j.isci.2024.109376.
[28] Wolpaw, J., et al. BCIs for communication and control, Clin. Neurophysiol., 113(6), 767–791, 2002. doi:10.1016/S1388-2457(02)00057-3.
[29] Lotte, F., et al. A 10-year update on EEG-BCI classifiers, J. Neural Eng., 15(3), 031005, 2018. doi:10.1088/1741-2552/aab2f2.
[30] Woo, S., et al. An Open Source-Based BCI Application for Virtual World Use, Front. Hum. Neurosci., 15, 684958, 2021. doi:10.3389/fnhum.2021.684958.
[31] Bota, P., et al. BioSPPy…, SoftwareX, 26, 101712, 2024. doi:10.1016/j.softx.2024.101712.
[32] Tariq, M., et al. EEG-Based BCI Control Schemes…, Front. Hum. Neurosci., 12, 312, 2018. doi:10.3389/fnhum.2018.00312.
[33] Kothe, C., et al. The Lab Streaming Layer…, bioRxiv, 2024. doi:10.1101/2024.02.13.580071.
[34] Frey, J., et al. TEEGI…, CHI EA, 2014. doi:10.1145/2559206.2579405.
[35] Node-RED, official site: https://nodered.org/.
[36] Intheon NeuroPype, product site: https://www.intheon.io.
[37] Santamaría-Vázquez, E., et al. MEDUSA©…, Comput. Methods Programs Biomed., 230, 107357, 2023. doi:10.1016/j.cmpb.2023.107357.
[38] López-García, D., et al. MVPAlab…, Comput. Methods Programs Biomed., 214, 106549, 2022. doi:10.1016/j.cmpb.2021.106549.
[39] Vesoulis, Z. A., et al. WU-NEAT…, Comput. Methods Programs Biomed., 196, 105716, 2020. doi:10.1016/j.cmpb.2020.105716.
[40] Silva, L. E. V., et al. PyBioS…, Comput. Methods Programs Biomed., 197, 105718, 2020. doi:10.1016/j.cmpb.2020.105718.
[41] Jennings, M. R., et al. Code-free cloud computing service…, Comput. Methods Programs Biomed., 211, 106398, 2021. doi:10.1016/j.cmpb.2021.106398.
[42] Maxion, A., et al. Spectral changes in EEG linked to neuroactive medications…, Comput. Methods Programs Biomed., 255, 108319, 2024. doi:10.1016/j.cmpb.2024.108319.
[43] Qian, D., et al. NeuroDM: EEG Visual-Transformer, Comput. Methods Programs Biomed., 258, 108213, 2024. doi:10.1016/j.cmpb.2024.108213.
[45] OpenBCI GUI, docs/GitHub.
[46] BrainBay, official GitHub / NITRC page.
[47] Dmochowski, J. P., et al. Maximally reliable spatial filtering of SSVEPs (RCA), NeuroImage, 109, 63–72, 2015. doi:10.1016/j.neuroimage.2014.12.078.
[48] Nielsen Norman Group. The 3 Response Time Limits in UX. (Web resource; accessed Sept. 2, 2025).
[49] web.dev (Google). Interaction to Next Paint (INP); RAIL & rendering performance. (Web resource; accessed Sept. 2, 2025).

[50] F. Chouag, “RBciAD: A Real-Time Polyglot No-/Low-Code Framework for Rapid EEG BCI Prototyping (Version 1.10.0),” Zenodo, 2025. doi:10.5281/zenodo.17095851.

Appendix A — Reproducibility & Artifact Availability

This appendix documents (i) how the raw logs run_*.csv are recorded for each workflow (W1–W3) using the F9 hotkey, and (ii) how the aggregated table metrics_sample.csv is built from those logs with metric_eval.py.

A.1 Repository layout

metrics/

├─ metric_eval.py               # ⇦ aggregator used to summarize/merge metrics

├─ metrics_sample.csv           # ⇦ final 3-row summary (W1–W3) used in Table 2 / Fig. 6

├─ runs/

│  ├─ W1/run_*.csv              # raw event logs for workflow W1 (e.g., ~8 CSVs)

│  ├─ W2/run_*.csv              # raw event logs for workflow W2 (e.g., ~8 CSVs)

│  └─ W3/run_*.csv              # raw event logs for workflow W3 (e.g., ~8 CSVs)

├─ out_simple/

│  ├─ W1/*.csv                  # per-run computed metrics (auto-generated)

│  ├─ W2/*.csv

│  └─ W3/*.csv

└─ figures/                     # PNG/SVG/PDF exports (rebuilt from metrics_sample.csv)

(Under Windows, use backslashes in paths if preferred.)

A.2 How the raw run_*.csv logs are produced (W1–W3)

A.2.1 Test machine and OS

All recordings were made on a Dell laptop (Intel Core i5, 8th gen, 1.7 GHz) running Windows 10. No OS tuning was applied.

A.2.2 Common procedure (applies to W1–W3)

- Launch RBciAD and open the benchmark view (live display + controls).

- Load the EDF/GDF file used in the paper (SR = 200 Hz; channel count as provided by the dataset).

- In the logging settings, set the output folder for the current workflow:

  - metrics/runs/W1/ for W1,

  - metrics/runs/W2/ for W2,

  - metrics/runs/W3/ for W3.

- Warm-up the pipeline for 10 s (buffers/caches settle).

- Press F9 (global hotkey hook) to emit the START_TTFP event. (There is no button; the harness listens for F9 and logs START_TTFP with the same monotonic, nanosecond clock as other events.)

- Start the 60 s wall-clock replay. The app emits RUN, FRAME, FIRST_FRAME, PARAM_CHANGE, SAMPLES_IN, CPU, RSS, etc.

- Trigger the deterministic but shuffled parameter-change sequence (as in § 3.13.2): window 10→5→2→1→10 s, overlap 50 %↔80 %, band-pass / notch on/off, channel visibility, amplitude ×2/÷2; edits spaced ≥ 1–2 s.

- After 60 s, stop by pressing F9. A file is created:

- metrics/runs/Wi/run_<timestamp_or_seed>_<idx>.csv

where i ∈ {1,2,3} denotes W1/W2/W3.

Tip: use a fixed seed for the shuffled order so runs are comparable across sessions.

Clocking. All events (START_TTFP, FIRST_FRAME, FRAME, PARAM_CHANGE, etc.) share the same monotonic timestamp base (nanoseconds), avoiding wall-clock discontinuities.

A.2.3 Workflow-specific settings

- W1 — Reader → LiveDisplay (raw baseline)
Graph: Reader → LiveDisplay (no filter). Redraws tied to data arrival; no forced repaint.
Script: ~20–30 edits (≥ 1–2 s apart): window 10→5→2→1→10 s; visibility; amplitude ×2/÷2.

- W2 — Reader → Filter → LiveDisplay (steady-state)
Graph: Reader → Filter → LiveDisplay.
Window = 5 s; overlap = 50 % ⇒ hop = 2.5 s (per § 3.2).
Filters: band-pass + notch. Same edit cadence as W1.

- W3 — Reader → Filter → LiveDisplay (stress / low-latency)
Graph: Reader → Filter → LiveDisplay.
Window = 5 s; overlap = 80 % ⇒ hop = 1.0 s.
Same filter family; higher UI cadence (edits still ≥ 1 s apart).

A.2.4 Minimum columns in each run_*.csv

The aggregator expects—or maps to—the following fields:

| Column | Meaning |
| --- | --- |
| ts_ns | Monotonic timestamp (nanoseconds, int64) |
| event | Event type: RUN, START_TTFP, FIRST_FRAME, PARAM_CHANGE, FRAME, SAMPLES_IN, CPU, RSS, … |
| config_version | (PARAM_CHANGE) version uk |
| applied_version | (FRAME) drawn version vj |
| value | Polymorphic (e.g., cumulative SAMPLES_IN) |
| cpu_pct | Process CPU (%) for CPU samples |
| rss_mb | Process RSS / Working Set (MB) for RSS samples |
| sr_hz, n_ch | Optional run metadata (Hz, #channels) |

(If names differ in your logs, adjust the mapping in metric_eval.py.)

A.3 What metric_eval.py computes

For each run, the script computes (definitions per § 3.13.1):

- TTFP; edit-to-redraw latency quantiles (P50/P95),

- FPS, Throughput (kSamples/s across channels, includes overlap work),

- Dropped frames (%), and process CPU/RSS (avg/max, sampled at 10 Hz).

It then aggregates per workflow (e.g., 8 runs) using the median of each metric to produce a one-row summary for that workflow.

A.4 Commands

A.4.1 Build the per-workflow summaries

# W1

python metrics/metric_eval.py \

--runs metrics/runs/W1 \

--outdir metrics/out_simple/W1 \

--summary metrics/out_simple/W1_summary.csv

# W2

python metrics/metric_eval.py \

--runs metrics/runs/W2 \

--outdir metrics/out_simple/W2 \

--summary metrics/out_simple/W2_summary.csv

# W3

python metrics/metric_eval.py \

--runs metrics/runs/W3 \

--outdir metrics/out_simple/W3 \

--summary metrics/out_simple/W3_summary.csv

Each call:

- reads all run_*.csv under the given --runs folder (e.g., ~10 files),

- writes per-run computed metrics in --outdir,

- writes the workflow summary (single row) to --summary.

A.4.2 Combine the three summaries into the final table

python metrics/metric_eval.py --combine \

metrics/out_simple/W1_summary.csv \

metrics/out_simple/W2_summary.csv \

metrics/out_simple/W3_summary.csv \

--out metrics/metrics_sample.csv

A.5 Final CSV schema (column order & units)

workflow, TTFP_s, Latency_P50_ms, Latency_P95_ms, FPS, Throughput_kSps,

Dropped_pct, CPU_avg_pct, CPU_max_pct, RSS_avg_MB, RSS_max_MB

Units: s (TTFP), ms (latencies), kSamples/s across channels (throughput), % (Dropped/CPU), MB (RSS).

A.6 Notes and sanity checks

- Warm-up / windowing: by default the script uses the protocol in § 3.13.2 (10 s warm-up, 60 s evaluation).

- Monotonic clock: timestamps in ts_ns are from the same monotonic source for all events.

- Throughput: if your SAMPLES_IN is “per-channel” rather than “across channels”, multiply the slope by n_ch.

- Dropped = 0 %: renderer counters report 0 % in our runs; if your build uses different event names, map them in metric_eval.py.

- Reproducibility: if the edit order is “deterministic but shuffled”, keep a fixed seed across sessions.

A.7 Abbreviations (Table A1),

| Abbreviation | Meaning | Short definition (how we use it) |
| --- | --- | --- |
| BCI | Brain–Computer Interface | EEG-based brain–machine interface. |
| EEG | Electroencephalography | Electrical potentials recorded at the scalp. |
| LSL | Lab Streaming Layer | Time-synchronized streaming framework (source clock). |
| MNE | MNE-Python | Python library for EEG/MEG I/O and preprocessing. |
| RxPy | ReactiveX for Python | Reactive streams used for propagation. |
| GUI | Graphical User Interface | Node graph editor and controls. |
| DAG | Directed Acyclic Graph | Cycle-free graph enabling deterministic execution. |
| TTFP | Time-to-First-Pipeline | tfirst-tstart: first effective frame after F9 start. |
| FPS | Frames per Second | Display refresh rate (interval average). |
| INP | Interaction to Next Paint | Web responsiveness metric; acceptance reference. |
| RSS | Resident Set Size | Process memory resident in RAM (Working Set on Windows). |
| CPU | Central Processing Unit | Process CPU usage (%). |
| JSON | JavaScript Object Notation | Inter-process exchange format (input/output files). |
| I/O | Input/Output | File/stream operations. |
| CLI | Command-Line Interface | e.g., metric_eval.py. |
| API | Application Programming Interface | Programming interface of modules. |
| CSV | Comma-Separated Values | Format of logs and aggregate tables. |
| EDF | European Data Format | EEG file format. |
| BDF | BioSemi Data Format | High-resolution EEG file format. |
| SR | Sampling Rate | Sampling frequency in Hz. |
| kS/s | kilo-Samples per second | Thousands of samples/s across channels. |
| UI | User Interface | LiveDisplay and controls. |
| KPI | Key Performance Indicator | Tracked metrics (P95, TTFP, dropped, etc.). |
| HCI/UX | Human–Computer Interaction / User Experience | Acceptance landmarks (0.1/1/10 s). |
| NN/g | Nielsen Norman Group | Source for 0.1 / 1 / 10 s thresholds. |
| RAIL | Response–Animation–Idle–Load | Web perf model; 60 FPS target (context). |
| SSVEP | Steady-State Visual Evoked Potential | EEG paradigm (future work). |
| RCA | Reliable Components Analysis | Spatial filtering for SSVEP (planned). |
| P50 / P95 | 50th / 95th percentile | Empirical latency quantiles. |
| W1–W3 | Workflows 1–3 | Baseline / steady-state / stress profiles. |

A.8 Metrics: definitions (Table A2).

| Metric | Definition (interval [T0,T1]) | Unit |
| --- | --- | --- |
| TTFP | tfirst-tstartbetween START_TTFP (F9) and FIRST_FRAME. | s |
| Latency P50 / P95 | For each edit k: Δtk=min⁡j: tjfr>tkpc, vj≥uk(tjfr-tkpc). Report empirical 50th/95th percentiles. | ms |
| FPS | Nframes/(T1-T0). | 1/s |
| Throughput | 10-3(T1-T0)-1iEi, with Ei=nch(i)nsamp(i)per chunk. | kS/s (across channels) |
| Dropped frames | 100×Ndropped/(Nrendered+Ndropped). | % |
| CPU avg / max | Mean / max of process CPU samples cmat 10 Hz on [T0,T1]. | % |
| RSS avg / max | Mean / max of process RSS samples rmat 10 Hz on [T0,T1]. | MB |

A.9 Symbols & units (Table A3).

| Symbol | Meaning | Unit / Note |
| --- | --- | --- |
| X∈Rns×nch | Data matrix (samples × channels), float32 | – |
| sr_hz | Sampling rate | Hz |
| ch_names | Channel labels | length nch |
| (t0src,t1src) | Source-clock time range of a chunk | s |
| tkpc | Time of the k-th PARAM_CHANGE | s (monotonic) |
| uk | Config version of edit k | integer |
| tjfr | Time of rendered frame j | s (monotonic) |
| vj | Applied version on frame j | integer |
| Δtk | Edit→first-affected-frame latency | s (reported in ms) |
| win_s | Window duration | s |
| overlap | Overlap fraction | [0,1), e.g., 0.8 = 80% |
| hop_s | Hop between windows | win_s(1-overlap)(s) |
| L | Ring buffer length per channel | ⌈win_s⋅sr_hz⌉samples |
| Ei | Elements per processed chunk i | nch(i)nsamp(i) |
| Nframes | Frames in [T0,T1] | count |
| Nrendered,Ndropped | Renderer counters | count |
| T0,T1 | Analysis bounds (after warm-up) | s |
| cm,rm | CPU% and RSS at sample m | %, MB |